## Slide 1: Ion Mobility Spectrometry: Separation based on CCS
Separation is based on collision cross section (CCS) and occurs on the millisecond time scale, largely restricting its implementation to fast Time-of-Flight (TOF) mass analyzers.
0
10
20
30
40
Drift time
Ion abundance
Uniform Electric Field
K: mobility constant
graphic by Y. Pu