## Sheet1
Safety Checklist for Events
Location: |  | Date:
Vendor: |  | Telephone #:
Person responsible for this Event:
Hazards/Issues or Tasks
EVENT ACCESS AND EGRESS | Applies/ Checked | Additional Actions required
Emergency Exits are well defined and clearly marked
Entry/Exit areas are clear and accessible for staff and expected attendees
ELECTRICAL | Applies/ Checked | Additional Actions required
No devices or equipment rated over 20 amps can be used unless approved and wired by Facilities Management.
Plug warmers and ovens directly into wall outlets.
The use of extension cords should be limited and match the ratings of the appliance or connected load. Must be UL Listed
All extension cords & equipment cords must be run so as to prevent damage to the cord insulation
Are all extension cords & equipment cords must be placed in such a manner as to minimize the risk of tripping over the cord
All power strips in use shall have a cord 6 feet or less in length, a 15 amp circuit breaker/ fuse, a surge protector and be UL listed
Plugging extension cords or power strips into one another so as to increase their length is prohibited
Use of cube taps or ground adapters is prohibited (3‐prong to 2‐prong adapters)
Do not use outlets or switches with damaged face plates. Switches and outlet covers must completely cover the switch/ receptacle wiring
All extension cords must be the three‐wire type with a minimum wire size of 14 AWG or heavier (16 AWG and above is not acceptable.)
EVENT SIGNAGE | Applies/ Checked | Additional Actions required
Adequate signage for entries, exits, toilets facilities, waste or recyling bins etc.
Adequate signage for any hazardous/ restricted areas
Fire extinguisher locations are noted
Evacutation signs are in place
Note Maximum occupancy posted in room. If not posted then no more than 49 people per room
FIRE PREVENTION | Applies/ Checked | Additional Actions required
Suitable fire extinguishers/fire blankets are in appropriate areas, tested and in date
Event personnel are trained in extinguisher/fire blanket use where appropriate
All staff and volunteers are aware of the fire evacuation procedures relevant to the planned event
All staff knows the location of Fire Alarm pull stations
Review EHS and other procedures provided
FIRST AID | Applies/ Checked | Additional Actions required
Effective means of communication provided between event personnel and Public Safety
Version 1, 9/11/2019